# AS950 Firmware Build Notes

| Product Name / Model: | Hach AS950 Firmware |
| --- | --- |
| Version: | Application v1.10, Boot v1.01 |
| Primary Device Version: | V1.02 |
| Date: | Monday May 25, 2020 |
| Project No.: | R9001 |
| Part No. / Board No.: | Firmware: 9490379, Ckt Bd: 9490200 |
| Technical Lead: | Devang Patel |
| Target Processor: | Hach p/n: 9490300, Mfg p/n: LPC4357FET256 |

Purpose:

The purpose of this document is to instruct a software engineer on how to rebuild the AS950 firmware.

# Reference Documents

The items in the following table are reference documents that may provide guidance on building the product:

| Document Type | Document Citation |
| --- | --- |

# Build Tools

The items in the following table describe the development tools(s) required to build the product:

| Tool | Name | Version | License Details |
| --- | --- | --- | --- |
| Compiler Tool chain | Keil uVision MDK-ARM Std. | V5.22.0 | Flex license: MDK_ARM Standard: 4 user (mdk_std) |
| JTAG Debugger | ULink Pro | NA | Not Licensed. |

# Location of Source Code

Source code required to build this product is located at: http://fsbu_svn/svn/AS950_Firmware/Trunk/Source/

# Location of Dependencies

Source code required to build this product is located at: http://fsbu-svn/svn/PrimaryDeviceBase/Trunk/Source/

The table below indicates the folder structure of the source code directory.

| Dependency | Location |
| --- | --- |
| PrimDevSrc | This directory contains the source code for the primary device library. |

# Build Output

The combined build output of the Boot and Application in Intel HEX format is located:

“C:\Projects\AS950_Firmware\Source\Images\Output\AS950_0_133_P01_COMBINED_VX_XX.hex”

The Application in binary format is located:

“C:\Projects\AS950_Firmware\Source\Images\Output\AS950_0_133_P01_AC_VX_XX.bin”

# Tool Setup and Installation

The following sub-sections provide step-by-step instructions for building each tool required to build the product.

## KEIL uVision

- Install the KEIL uVision IDE using CD or the backup located at http://fsbu-svn/svn/Software_Tools/Trunk/Keil/

Note: Installation of KEIL uVision is simple and is self explanatory. It is recommended to install on default path.

- Install Keil FlexLM license Client:

- Open the dialog File — License Management.

- Select the tab FlexLM License.

- Click the button Edit and enter 8224@HLOVDFSBU01 into the pop-up window.

- Click OK.

- Enable Use Flex Server. The dialog shows all available product licenses.

- Green record identifies the FlexLM license currently active on your workstation.

- Red records identify FlexLM licenses that cannot be used. The licenses are all in use by other parties or the Flex License Server cannot be accessed.

- Black records identify available licenses. Any of these records can be made active.

- Gray records show the locally installed licenses.

- Build Instruction

The following provides step-by-step instructions for building the project.

- Download the source code from SVN into the following directory:

“C:\Projects\AS950_Firmware\Source”

- Download the Dependent code from SVN into the following directory:

“C:\Projects\PrimaryDeviceBase\Source”

- Open the AS950 workspace with Keil uVision:

“C:\Projects\AS950_Firmware\Source\AS950.uvmpw”

- With the AS950 workspace open, select Project | Batch Build.

- Select the following AS950 projects AppFlash, AppMan, BootFlash, Drivers_Chip, Drivers_IP, Hardware, RTOS, NF_Debug, PrimDev, USB_DEVICE, Language, PEG, UI, USB_HOST, FileSys.

- Select Rebuild to build the AS950 project.

- Upon completion, the combined build output of the Boot and Application in Intel HEX format is located:

“C:\Projects\AS950_Firmware\Source\Images\Output\AS950_0_133_P01_COMBINED_VX_XX.hex”

# Debug Instruction

- Connect the ULink Pro debugger to the target.

- Open the AS950 workspace with Keil uVision:

“C:\Projects\AS950_Firmware\Source\AS950.uvmpw”

- In the AS950 project window, right click on the Images project and ‘Set As Active Project’.

- Select Flash | Download to load the combined image to the target.

- In the AS950 project window, right click on the AppFlash project and ‘Set As Active Project’.

- Select Debug | Start Debug Session. The program counter will be located at main().

- At this point in time, the AS950 application can be debugged.